## Product Comparison
Title | Product Type | Applications | Product Technology | Family Modules/Configurations | Voltage Offering | Lumen Range | CCT Offering | CRI Offering | Mounting Options | Wattage Range | Efficacy Range | Color Offering | Optics & Distributions | Controls & Sensors | Certifications | Ratings | Operating Temp | Lumen Maintenance Rating | Warranty
Ryvl 55L | -- | -- | 0-10V Dimming | 1x4, 2x2, 2x4 | -- | 2,500 - 8,000 | 3000, 3500, 4000 | 80, 90 | Grid, Pendant, Surface | 18 - 69 | 115 - 154 | -- | -- | -- | CSA, UL 924, DLC 5.1 Premium, DLC Standard | TAA (Buy American 52.225-11), Chicago Plenum (CCEA) | -- | L90 @ 50,000 hours | 5 year limited
Stratus® - LSTE | -- | -- | -- | -- | -- | 1,600 - 8,600 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 18 - 88 | 81 - 108 | White | Lambertian | -- | CSA, UL 924 | IC, Chicago Plenum (CCEA), Damp | -- | -- | 5 year limited
LJT | -- | -- | -- | -- | -- | 1,600 - 15,000 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 13 - 100 | 102 - 149 | White | Lambertian | -- | UL, UL 924, NSF, DLC 5.1 Standard, DLC 5.1 Premium | TAA (Buy American 52.225-11), IC, Chicago Plenum (CCEA), Damp | -20 to 25 | -- | 5 year limited
TCAT | -- | -- | SpectraSync™ Color Tuning, NX Lighting Controls | -- | -- | 1,400 - 8,900 | 2700, 3000, 3500, 4000, 5000, 6500 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 12 - 69 | 109 - 145 | White | Lambertian | -- | CSA, UL 924, DLC 5.1 Standard, DLC 5.1 Premium | IC, Chicago Plenum (CCEA), Damp | -- | -- | 5 year limited
LCAT | -- | -- | SpectraSync™ Color Tuning, NX Lighting Controls, Switchable Technology | -- | -- | 1,500 - 8,400 | 2700, 3000, 3500, 4000, 5000, 6500 | 80, 90 | Ceiling, Grid, Recessed, Surface, Suspended | 12 - 63 | 108 - 146 | White | Lambertian | -- | CSA, UL 924, DLC 5.1 Standard | TAA (Buy American 52.225-11), Wet | -- | L80 @ 60,000 hours | 5 year limited
CCL | -- | -- | Switchable Technology | -- | -- | 2,600 - 6,400 | 3500, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 21 - 51 | 108 - 140 | White | Lambertian | -- | CSA, UL 924, DLC 5.1 Standard | TAA (Buy American 52.225-11), Damp | -- | -- | 5 year limited
e-poc® - LEPC | -- | -- | -- | -- | -- | 1,500 - 9,200 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 13 - 76 | 109 - 132 | White | Lambertian | -- | CSA, UL 924 | IC, Chicago Plenum (CCEA), Damp | -- | -- | 5 year limited
Versify™ – VSY | -- | -- | SpectraSync™ Color Tuning, NX Lighting Controls | -- | -- | 1,400 - 8,600 | 2700, 3000, 3500, 4000, 5000, 6500 | 80, 90 | Ceiling, Grid, Recessed, Surface, Suspended | 11 - 61 | 121 - 150 | White, Black | Lambertian | -- | CSA, UL 924, DLC 5.1 Standard, DLC Premium | TAA (Buy American 52.225-11), IC, Chicago Plenum (CCEA), Damp, Wet, IP5X, ISO 5 | -- | -- | 5 year limited
Serrano® - LSER | -- | -- | -- | -- | -- | 1,400 - 9,200 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 13 - 72 | 96 - 138 | White | Lambertian | -- | UL, UL 924, NSF | -- | -- | -- | 5 year limited
CBT | -- | -- | Switchable Technology | -- | -- | 2,750 - 5,700 | 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface | 24 - 48 | 115 - 123 | White | Lambertian | -- | UL, DLC 5.1 Standard, NSF2 Splash/Non-Food Zone | ISO 4 | -- | -- | 5 year limited
Transition® - LTRE | -- | -- | -- | -- | -- | 3,000 - 9,700 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 30 - 81 | 98 - 130 | White | Lambertian | -- | CSA, UL 924 | Wet | -- | -- | 5 year limited
Scaler™ – SRP | -- | -- | SpectraSync™ Color Tuning, NX Lighting Controls | -- | -- | 1,500 - 9,000 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface | 13 - 85 | 94 - 128 | White | Lambertian | -- | UL, UL 924, NSF | IC, Chicago Plenum (CCEA), Damp, ISO 5 | -- | -- | 5 year limited
RLA | -- | -- | -- | -- | -- | 2,500 - 7,600 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 26 - 77 | 86 - 113 | White | Lambertian | -- | CSA, UL 924 | IC, Chicago Plenum (CCEA), Damp | -- | -- | 5 year limited
LZPT | -- | -- | -- | -- | -- | 1,900 - 9,100 | 3000, 3500, 4000, 5000 | 80 | Ceiling, Grid, Recessed, Surface, Suspended | 18 - 92 | 91 - 119 | White | Lambertian | -- | CSA, UL 924 | IC, Chicago Plenum (CCEA), Damp, Wet | -- | -- | 5 year limited