## Product Comparison
Title | Product Type | Applications | Product Technology | Family Modules/Configurations | Voltage Offering | Lumen Range | CCT Offering | CRI Offering | Mounting Options | Wattage Range | Efficacy Range | Color Offering | Optics & Distributions | Controls & Sensors | Certifications | Ratings | Operating Temp | Lumen Maintenance Rating | Warranty
Vandal / Behavioral Downlights | -- | -- | NX Lighting Controls | -- | -- | 600-4,000 | -- | 80, 90 | Recessed | 8-52 | 62-89 | -- | Very Narrow, Medium, Wide, Extra Wide, Wall Wash | -- | cCSAus, NSF | cCSAus, UL924, IP66, IP69K, IK10, ISO 3, Non-IC, IC, Chicago Plenum (CCEA), Damp, Wet, NSF2 Non-Food Zone | 25 | L90 @ 55,000 hours | 5 year limited
Prevent Round | -- | -- | Networked, Motion Sensing | -- | -- | 1,260 - 7,430 | 2700, 3000, 3500, 4000, 5000 | 80, 90 | Wall, Ceiling, Surface | 10 - 70 | 98 - 130 | BLS - Black Gloss Smooth, BLT - Black Matte Textured, DBS - Dark Bronze Gloss Smooth, DBT- Dark Bronze Matte Textured, GTT - Graphite Matte Textured, LG - Light Grey Matte Textured, LGS - Light Grey Gloss Smooth, PSS - Platinum Silver Gloss Smooth, VGT - Verde Green Matte Textured, WHS - White Gloss Smooth, WHT - White Matte Textured, CC – Custom Color | Symmetric, Lambertian | -- | cULus, ADA, UL 924, RoHS | IP66, IK10, ANSI 3G, ANSI C78, ANSI C82 | -- | -- | 5 year limited
Obex | -- | -- | 0-10V Dimming, Vandal Resistant | 1x4, 2x2, 2x4 | -- | 6,070 - 25,323 | 3000, 3500, 4000, 5000 | 80, 90 | Ceiling (surface), Grid, Drywall Ceiling | 43.8 - 172 | 125 - 155 | White, Anti-microbial White | Symmetric, Lambertian, Asymmetric, Direct | -- | CSA, FCC, UL 1598, UL 924 | BAA (Buy American 52.225-9), Chicago Plenum (CCEA), IC, IK10, IP66, IP69K, ISO 3, MIL STD 461, NSF2 Splash/Non-Food Zone, Wet | -- | L70 @ 72,000 hours;L90 @ 45,000 hours | 5 year limited
NiteWay | -- | -- | -- | -- | -- | -- | 3000, 590nm Amber | 80 | Wall | 1.9 | -- | White, Black, Aluminum | -- | -- | cCSAus | Wet | -- | -- | 5 year limited
Wall3™ Wall Bracket - W3B | -- | -- | SpectraSync™ Color Tuning | -- | -- | 950 - 5,500 | 3000, 3500, 4000, 5000 | 80 | Wall, Surface | 8 - 41 | 108 - 149 | White, Matte Black, ZET Metallic Silver | Lambertian | -- | CSA, UL 924, ADA | TAA (Buy American 52.225-11), IC, Chicago Plenum (CCEA), Damp | -- | -- | 5 year limited
Prevent Linear | -- | -- | -- | -- | -- | -- | 2700, 3000, 3500, 4000, 5000 | 80, 90 | Surface, Wall, Pendant | Per foot: 10 - 90 | 112 - 158 | -- | -- | -- | cULus, UL 924, ADA | IP66, IK10, ANSI 3G | -- | -- | 5 year limited